## Introduction
IAEA MARiS environmental marine environmental radioactivity data reporting template for CRP K41017
The following general instructions should be followed for reporting marine environmental radioactivity data to IAEA MARiS
1 | Use the dedicated data templates for each sample type (seawater, biota, sediment, and suspended & sedimenting particle) provided in separate worksheets in this Excel spreadsheet ('Seawater data'; 'Biota data'; 'Sediment data'; and 'Susp. & sed. part. data').
2 | Refer to the detailed instructions for filling in the template for each sample type. These are provided in separate worksheets in this Excel spreadsheet ('Seawater instructions'; 'Biota instructions'; 'Sediment instructions'; and 'Susp. & sed. part. instructions').
3 | Report seawater, biota, sediment, and suspended & sedimenting particle data in separate templates. Use the correct data template for each sample type (e.g. do not use the seawater data template to report sediment data).
4 | Provide as much information as possible for referencing the data in order to facilitate proper acknowledgement and traceability of the data - see worksheet 'Reference'. Data from different references should be reported in separate Excel spreadsheets.
5 | Provide as much detail as possible when reporting data. For each sample type, parameters are colour coded: red means that the information is mandatory, yellow that the information is recommended and green that the information is optional. Other available information can be provided using a more detailed template (available on request) or in the 'Sampling notes' or 'Measurement notes' fields.
6 | Provide geographical coordinates in either degrees, minutes, seconds or decimal latitude and longitude - it is not necessary to provide both.
7 | Provide accurate geographical coordinates, particularly for coastal stations: it is recommended that coordinates are provided to the nearest whole second for degrees, minutes, seconds, or 4 decimal places for decimal degrees.
8 | Report seawater data in Bq/m3 or Bq/kg or atom/kg as appropriate. If possible, provide information on the sample density to facilitate conversion between units.
9 | Report biota data either in Bq/kg ww (wet weight) or Bq/kg dw (dry weight). Dry and wet sample weights or a ratio of the two should also be supplied.
10 | Report sediment data either in Bq/kg ww (wet weight) or Bq/kg dw (dry weight). Dry and wet sample weights or a ratio of the two should also be supplied. Where the sample is part of a core, additional information to facilitate calculation of inventories (e.g. core interval information) should be provided.
11 | Report suspended and sedimenting particle data in Bq/m3 or Bq/kg as appropriate.
12 | Decay correct all measurement data to the sampling date.
13 | State 1 sigma (k=1) measurement uncertainties as a number in the unit indicated (NOT as a percentage); an estimate of the measurement uncertainty should always be provided.
14 | For temporally and/or spatially integrated samples, provide a representative sampling date and/or geographical coordinate and add a comment in the 'Sample notes' field to this effect.
15 | Provide a quantitative or qualitative indicator of the quality of the data. The IODE Quality Flag Scheme for the exchange of oceanographic and marine meteorological data (www.iode.org/mg54_3) is recommended. 1: Good - passed required QC tests; 2: Not evaluated, not available or unknown; 3: Questionable/suspect; 4: Bad; 9: Missing data - used as place holder when data are missing.
16 | Use the field 'Sample notes' for any useful additional information related to the sample.
17 | Use the field 'Measurement notes' for any useful additional information related to the measurement value, uncertainty and value type.
18 | Standard names are used to ensure consistency between different datasets when describing sampling, preparation, counting and drying methods. Select the appropriate names from the worksheet 'Lists - Methods' in this Excel spreadsheet.
19 | Standard names are used to ensure consistency between different datasets when describing sediment types and biota body parts. Select the appropriate names from the worksheets 'List - Sediment type' and 'List - Body part' in this Excel spreadsheet.
20 | For any queries about the data reporting template or to discuss reporting additional metadata, contact Paul McGinnity, CRP K41017 Technical Officer (p.mc-ginnity@iaea.org) or the MARiS contact point (MARIS.Contact-Point@iaea.org, p.morris@iaea.org).
2018 Version 1.0

## Reference
Reporting instructions for the reference
1 | For all data submitted using these data reporting templates, it is essential to provide as much information as possible about the source of the data so that it is traceable and proper acknowledgements can be made.
2 | Data providers are responsible for providing the necessary information to reference the reported data. The MARiS data office will accept this information in any format.
3 | Data from multiple sources/ references should be submitted in separate Excel spreadsheets, one for each reference. If this is not practical, please contact Paul McGinnity, CRP K41017 Technical Officer (p.mc-ginnity@iaea.org) or the MARiS contact point (MARIS.Contact-Point@iaea.org, p.morris@iaea.org) to discuss the best approach.
4 | Publication of a joint paper, including all data providers as authors, describing the K41017 data compilation and announcing its release is planned. Provide the name(s) to include as contributors to this paper.
5 | Reference metadata can be captured in MARiS on all of the parameters below. As much of this information as possible should be submitted when reporting data.
Citation of the journal article/book/chapter/report etc.
DOI number
Internet hyperlink
Keywords
Name of project and cruise number
Name of database
|  | Name and contact details of the laboratory | (The laboratory is recorded separately in MARiS so inclusion of this information is highly recommended.)
|  | A PDF file of the publication or report | (This can be embedded within this Excel sheet using: Insert>Object>Create from file. This is for MARiS internal records only - the PDF will not be distributed via the MARiS website.)
|  | Embargo dates if the data is proprietary | (For queries about how the data is controlled, please contact Paul McGinnity, CRP K41017 Technical Officer (p.mc-ginnity@iaea.org) or the MARiS contact point (MARIS.Contact-Point@iaea.org, p.morris@iaea.org).)
Any extra notes or observations
Enter as much as possible of the following reference information in the table below
Citation of the journal article/book/chapter/report etc.
DOI number
Internet hyperlink
Keywords
Name of project and cruise number
Name of database
Name and contact details of the laboratory
A PDF file of the publication or report Insert a PDF file by using: Insert>Object>Create from file
Embargo dates if the data is proprietary
Any extra notes or observations
Names of contributors to multi-authored paper on data compilation

## Seawater instructions
Reporting instructions for seawater data
Parameter | Format | Value
Sample type | Text | For seawater this will always be WATER.
Latitude degrees | Number | Degrees of latitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Latitude minutes | Number | Minutes of latitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Latitude seconds | Number | Seconds of latitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Latitude direction | Text | Direction of latitude (N or S). If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude.
Longitude degrees | Number | Degrees of longitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Longitude minutes | Number | Minutes of longitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Longitude seconds | Number | Seconds of longitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Longitude direction | Text | Direction of longitude (E or W). If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude.
Latitude decimal | Number | Decimal latitude. Use positive degrees for N and negative degrees for S. If providing decimal latitude and longitude it is not necessary to also provide degrees, minutes, seconds. The recommended accuracy is four decimal places.
Longitude decimal | Number | Decimal longitude. Use positive degrees for E and negative degrees for W. If providing decimal latitude and longitude it is not necessary to also provide degrees, minutes, seconds. The recommended accuracy is four decimal places.
Sampling start date | DD-MMM-YYYY | Date sample taken or start date of sampling period (alternatively, for temporally integrated samples a representative sampling date can be given).
Sampling start time | HH:MM | Only if applicable, time sample taken or start time of sampling period (alternatively, for temporally integrated samples a representative sampling time can be given).
Sampling end date | DD-MMM-YYYY | Only if applicable, end date of sampling period (for instantaneous sampling or where a representative sampling date has been given, this field should be left blank).
Sampling end time | HH:MM | Only if applicable, end time of sampling period (for instantaneous sampling or where a representative sampling time has been given, this field should be left blank).
Sampling depth | Number | Depth from the water surface in metres at which the sample was taken. Surface water = 0.
Nuclide | e.g. 137Cs, 239,240Pu, 110mAg | Nuclide for which data reported. First state the mass number of the element and then the symbol of the element without spaces.
Value type | = or < sign | If data is above the minimum detectable activity (MDA) use = sign. If data is below MDA use < sign.
Unit | Text | Bq/m3 or Bq/kg or atom/kg as appropriate.
Activity or MDA | Number | If the data is above MDA, enter the measured data value in the unit indicated. If the data is below MDA, enter the MDA in the unit indicated; an estimate of the MDA should always be provided.
Uncertainty | Number | If the data is above MDA, 1 sigma (k=1) measurement uncertainty expressed as a number in the unit indicated (NOT as a percentage); an estimate of the measurement uncertainty should always be provided. If data is below MDA, leave blank.
Salinity | Number | If available, Practical Salinity, as recommended by TEOS-10 (www.teos-10.org/) for the archival of salinity in databases. If necessary, consult TEOS-10 for converting from Absolute Salinity (g/kg) to Practical Salinity.
Temperature | Number | If available, seawater temperature in degrees Celsius (°C).
Filtered | Y/N | If available, whether particulate matter has been filtered from the seawater, yes (Y) or no (N).
Mesh size | Number | If available and if filtered, the mesh size (µm).
Quality flag | Text and/or number | If available, a quantitative or qualitative indicator of the quality of the data. The IODE Quality Flag Scheme for the exchange of oceanographic and marine meteorological data (www.iode.org/mg54_3) is recommended. Additional details may be provided in the 'Sampling notes' or 'Measurement notes' fields.
Station ID | Text and/or number | Data provider's sampling station ID. If applicable, provide either a place name or code. Ensure that the same ID is used each time data is reported for the station.
Sample ID | Text and/or number | Data provider's laboratory sample ID. If applicable, provide the unique laboratory ID for the sample.
Total depth | Number | If available, total water column depth in metres (m).
Profile or transect ID | Text and/or number | If applicable, identifier for linking data which are part of a sequence e.g. a vertical profile or a horizontal transect. This can be in any format selected by the data provider.
Sampling method | Text | If available, select the most appropriate sampling method from the sampling method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Sample notes' field.
Preparation method | Text | If available, select the most appropriate preparation method from the preparation method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Sample notes' field.
Counting method | Text | If available, select the most appropriate counting method from the counting method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Measurement notes' field.
Sample notes | Text | For any useful additional information related to the sample, e.g. notes on the methods.
Measurement notes | Text | For any useful additional information related to the measurement value, uncertainty and value type.
Example 1
Sample type | Latitude degrees | Latitude minutes | Latitude seconds | Latitude direction | Longitude degrees | Longitude minutes | Longitude seconds | Longitude direction | Latitude decimal | Longitude decimal | Sampling start date | Sampling start time | Sampling end date | Sampling end time | Sampling depth | Nuclide | Value type | Unit | Activity or MDA | Uncertainty | Salinity | Temperature | Filtered | Mesh size | Quality flag | Station ID | Sample ID | Total depth | Profile or transect ID | Sampling method | Preparation method | Counting method | Sample notes | Measurement notes
WATER | 69 | 37 | 5 | N | 17 | 57 | 0 | E |  |  | 2008-09-29 |  |  |  | 0 | 99Tc | = | Bq/m3 | 0.000611 | 5e-05 | 35.3 | 13.9 | N | 300 | 1 | Hillesøy | T0156-2009 | 95 |  | BOTTLE SAMPLING WATER | NOT KNOWN | BETA LIQUID SCINTILLATION SPECTROMETRY
Example 2
Sample type | Latitude degrees | Latitude minutes | Latitude seconds | Latitude direction | Longitude degrees | Longitude minutes | Longitude seconds | Longitude direction | Latitude decimal | Longitude decimal | Sampling start date | Sampling start time | Sampling end date | Sampling end time | Sampling depth | Nuclide | Value type | Unit | Activity or MDA | Uncertainty | Salinity | Temperature | Filtered | Mesh size | Quality flag | Station ID | Sample ID | Total depth | Profile or transect ID | Sampling method | Preparation method | Counting method | Sample notes | Measurement notes
WATER | [8 empty] | 48.6397 | 2.0553 | 2008-06-23 |  |  |  | 0 | 137Cs | < | Bq/m3 | 0.025 | [5 empty] | 1 | Dinard |  | 11 |  | 0 | 20

## Seawater data
Sample type | Latitude degrees | Latitude minutes | Latitude seconds | Latitude direction | Longitude degrees | Longitude minutes | Longitude seconds | Longitude direction | Latitude decimal | Longitude decimal | Sampling start date | Sampling start time | Sampling end date | Sampling end time | Sampling depth | Nuclide | Value type | Unit | Activity or MDA | Uncertainty | Salinity | Temperature | Filtered | Mesh size | Quality flag | Station ID | Sample ID | Total depth | Profile or transect ID | Sampling method | Preparation method | Counting method | Sample notes | Measurement notes

## Biota instructions
Reporting instructions for biota data
Parameter | Format | Value
Sample type | Text | For biota this will always be BIOTA.
Latitude degrees | Number | Degrees of latitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Latitude minutes | Number | Minutes of latitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Latitude seconds | Number | Seconds of latitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Latitude direction | Text | Direction of latitude (N or S). If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude.
Longitude degrees | Number | Degrees of longitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Longitude minutes | Number | Minutes of longitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Longitude seconds | Number | Seconds of longitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Longitude direction | Text | Direction of longitude (E or W). If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude.
Latitude decimal | Number | Decimal latitude. Use positive degrees for N and negative degrees for S. If providing decimal latitude and longitude it is not necessary to also provide degrees, minutes, seconds. The recommended accuracy is four decimal places.
Longitude decimal | Number | Decimal longitude. Use positive degrees for E and negative degrees for W. If providing decimal latitude and longitude it is not necessary to also provide degrees, minutes, seconds. The recommended accuracy is four decimal places.
Sampling start date | DD-MMM-YYYY | Date sample taken or start date of sampling period (alternatively, for temporally integrated samples a representative sampling date can be given).
Sampling start time | HH:MM | Only if applicable, time sample taken or start time of sampling period (alternatively, for temporally integrated samples a representative sampling time can be given).
Sampling end date | DD-MMM-YYYY | Only if applicable, end date of sampling period (for instantaneous sampling or where a representative sampling date has been given, this field should be left blank).
Sampling end time | HH:MM | Only if applicable, end time of sampling period (for instantaneous sampling or where a representative sampling time has been given, this field should be left blank).
Nuclide | e.g. 137Cs, 239,240Pu, 110mAg | Nuclide for which data reported. First state the mass number of the element and then the symbol of the element without spaces.
Value type | = or < sign | If data is above the minimum detectable activity (MDA) use = sign. If data is below MDA use < sign.
Unit | Text | Bq/kg dw (dry weight) or Bq/kg ww (wet weight).
Activity or MDA | Number | If the data is above MDA, enter the measured data value in the unit indicated. If the data is below MDA, enter the MDA in the unit indicated; an estimate of the MDA should always be provided.
Uncertainty | Number | If the data is above MDA, 1 sigma (k=1) measurement uncertainty expressed as a number in the unit indicated (NOT as a percentage); an estimate of the measurement uncertainty should always be provided. If data is below MDA, leave blank.
Species | Text | Full Latin name of fish, molluscs or seaweed species (e.g. Gadus morhua or Mytilus edulis). Crosscheck the spelling with a species catalogue such as www.catalogueoflife.org.
Body part | Text | Select the most appropriate body part from the body part list in datasheet 'List - body part'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Sample notes' field.
Dry weight | Number | If available, dry weight of biota sample in grammes (g).
Wet weight | Number | If available, wet weight of biota sample in grammes (g).
Dry/wet ratio | Number | If available, ratio of dry weight to wet weight (in case one of the above weights is not available).
Quality flag | Text and/or number | If available, a quantitative or qualitative indicator of the quality of the data. The IODE Quality Flag Scheme for the exchange of oceanographic and marine meteorological data (www.iode.org/mg54_3) is recommended. Additional details may be provided in the 'Sampling notes' or 'Measurement notes' fields.
Station ID | Text and/or number | Data provider's sampling station ID. If applicable, provide either a place name or code. Ensure that the same ID is used each time data is reported for the station.
Sample ID | Text and/or number | Data provider's laboratory sample ID. If applicable, provide the unique laboratory ID for the sample.
Profile or transect ID | Text and/or number | If applicable, identifier for linking data which are part of a sequence e.g. a vertical profile or a horizontal transect. This can be in any format selected by the data provider.
Sampling method | Text | If available, select the most appropriate sampling method from the sampling method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Sample notes' field.
Preparation method | Text | If available, select the most appropriate preparation method from the preparation method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Sample notes' field.
Drying method | Text | If available, select the most appropriate drying method from the drying method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Sample notes' field.
Counting method | Text | If available, select the most appropriate counting method from the counting method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Measurement notes' field.
Sample notes | Text | For any useful additional information related to the sample, e.g. notes on the methods.
Measurement notes | Text | For any useful additional information related to the measurement value, uncertainty and value type.
Example 1
Sample type | Latitude degrees | Latitude minutes | Latitude seconds | Latitude direction | Longitude degrees | Longitude minutes | Longitude seconds | Longitude direction | Latitude decimal | Longitude decimal | Sampling start date | Sampling start time | Sampling end date | Sampling end time | Nuclide | Value type | Unit | Activity or MDA | Uncertainty | Species | Body part | Dry weight | Wet weight | Dry/wet ratio | Quality flag | Station ID | Sample ID | Profile or transect ID | Sampling method | Preparation method | Drying method | Counting method | Sample notes | Measurement notes
BIOTA | 69 | 37 | 5 | N | 17 | 57 | 0 | E |  |  | 2008-09-29 |  |  |  | 137Cs | = | Bq/kg ww | 0.75 | 0.005 | GADUS MORHUA | FLESH WITHOUT BONES | 455 | 2500 | 0.18 | 1 | 1 | Cod-001 |  | NET | NOT LISTED |  | GAMMA SEMICONDUCTOR SPECTROMETRY | Dissected
Example 2
Sample type | Latitude degrees | Latitude minutes | Latitude seconds | Latitude direction | Longitude degrees | Longitude minutes | Longitude seconds | Longitude direction | Latitude decimal | Longitude decimal | Sampling start date | Sampling start time | Sampling end date | Sampling end time | Nuclide | Value type | Unit | Activity or MDA | Uncertainty | Species | Body part | Dry weight | Wet weight | Dry/wet ratio | Quality flag | Station ID | Sample ID | Profile or transect ID | Sampling method | Preparation method | Drying method | Counting method | Sample notes | Measurement notes
BIOTA | [8 empty] | 48.6397 | 2.0553 | 2008-06-23 |  |  |  | 134Cs | < | Bq/kg ww | 0.01 |  | GADUS MORHUA | FLESH WITHOUT BONES | 388 | 2300 | 0.17 | 1 | 1 | Cod-002 |  | NET | NOT LISTED |  | GAMMA SEMICONDUCTOR SPECTROMETRY | Dissected

## Biota data
Sample type | Latitude degrees | Latitude minutes | Latitude seconds | Latitude direction | Longitude degrees | Longitude minutes | Longitude seconds | Longitude direction | Latitude decimal | Longitude decimal | Sampling start date | Sampling start time | Sampling end date | Sampling end time | Nuclide | Value type | Unit | Activity or MDA | Uncertainty | Species | Body part | Dry weight | Wet weight | Dry/wet ratio | Quality flag | Station ID | Sample ID | Profile or transect ID | Sampling method | Preparation method | Drying method | Counting method | Sample notes | Measurement notes

## Sediment instructions
Reporting instructions for sediment data
Parameter | Format | Value
Sample type | Text | For sediment this will always be SEDIMENT.
Latitude degrees | Number | Degrees of latitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Latitude minutes | Number | Minutes of latitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Latitude seconds | Number | Seconds of latitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Latitude direction | Text | Direction of latitude (N or S). If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude.
Longitude degrees | Number | Degrees of longitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Longitude minutes | Number | Minutes of longitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Longitude seconds | Number | Seconds of longitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Longitude direction | Text | Direction of longitude (E or W). If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude.
Latitude decimal | Number | Decimal latitude. Use positive degrees for N and negative degrees for S. If providing decimal latitude and longitude it is not necessary to also provide degrees, minutes, seconds. The recommended accuracy is four decimal places.
Longitude decimal | Number | Decimal longitude. Use positive degrees for E and negative degrees for W. If providing decimal latitude and longitude it is not necessary to also provide degrees, minutes, seconds. The recommended accuracy is four decimal places.
Sampling start date | DD-MMM-YYYY | Date sample taken or start date of sampling period (alternatively, for temporally integrated samples a representative sampling date can be given).
Sampling start time | HH:MM | Only if applicable, time sample taken or start time of sampling period (alternatively, for temporally integrated samples a representative sampling time can be given).
Sampling end date | DD-MMM-YYYY | Only if applicable, end date of sampling period (for instantaneous sampling or where a representative sampling date has been given, this field should be left blank).
Sampling end time | HH:MM | Only if applicable, end time of sampling period (for instantaneous sampling or where a representative sampling time has been given, this field should be left blank).
Sampling depth | Number | Depth of water column in metres at which the sample was taken. Surface water = 0.
Top | Number | For sediment cores, top of core interval relative to the water-sediment interface (cm).
Bottom | Number | For sediment cores, bottom of core interval relative to the water-sediment interface (cm).
Nuclide | e.g. 137Cs, 239,240Pu, 110mAg | Nuclide for which data reported. First state the mass number of the element and then the symbol of the element without spaces.
Value type | = or < sign | If data is above the minimum detectable activity (MDA) use = sign. If data is below MDA use < sign.
Unit | Text | Bq/kg dw (dry weight) or Bq/kg ww (wet weight).
Activity or MDA | Number | If the data is above MDA, enter the measured data value in the unit indicated. If the data is below MDA, enter the MDA in the unit indicated; an estimate of the MDA should always be provided.
Uncertainty | Number | If the data is above MDA, 1 sigma (k=1) measurement uncertainty expressed as a number in the unit indicated (NOT as a percentage); an estimate of the measurement uncertainty should always be provided. If data is below MDA, leave blank.
Sediment type | Number | If available, select the most appropriate sediment type from the sediment type list in datasheet 'List - Sediment type'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Sample notes' field.
Dry weight | Number | If available, dry weight of biota sample in grammes (g).
Wet weight | Number | If available, wet weight of biota sample in grammes (g).
Dry/wet ratio | Number | If available, ratio of dry weight to wet weight (in case one of the above weights is not available).
Quality flag | Text and/or number | If available, a quantitative or qualitative indicator of the quality of the data. The IODE Quality Flag Scheme for the exchange of oceanographic and marine meteorological data (www.iode.org/mg54_3) is recommended. Additional details may be provided in the 'Sampling notes' or 'Measurement notes' fields.
Station ID | Text and/or number | Data provider's sampling station ID. If applicable, provide either a place name or code. Ensure that the same ID is used each time data is reported for the station.
Sample ID | Text and/or number | Data provider's laboratory sample ID. If applicable, provide the unique laboratory ID for the sample.
Profile or transect ID | Text and/or number | If applicable, identifier for linking data which are part of a sequence e.g. a vertical profile or a horizontal transect. This can be in any format selected by the data provider.
Sampling method | Text | If available, select the most appropriate sampling method from the sampling method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Sample notes' field.
Preparation method | Text | If available, select the most appropriate preparation method from the preparation method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Sample notes' field.
Drying method | Text | If available, select the most appropriate drying method from the drying method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Sample notes' field.
Counting method | Text | If available, select the most appropriate counting method from the counting method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Measurement notes' field.
Sample notes | Text | For any useful additional information related to the sample, e.g. notes on the methods.
Measurement notes | Text | For any useful additional information related to the measurement value, uncertainty and value type.
Example 1
Sample type | Latitude degrees | Latitude minutes | Latitude seconds | Latitude direction | Longitude degrees | Longitude minutes | Longitude seconds | Longitude direction | Latitude decimal | Longitude decimal | Sampling start date | Sampling start time | Sampling end date | Sampling end time | Sampling depth | Top | Bottom | Nuclide | Value type | Unit | Activity or MDA | Uncertainty | Sediment type | Dry weight | Wet weight | Dry/wet ratio | Quality flag | Station ID | Sample ID | Profile or transect ID | Sampling method | Preparation method | Drying method | Counting method | Sample notes | Measurement notes
SEDIMENT | 69 | 37 | 5 | N | 17 | 57 | 0 | E |  |  | 2008-09-29 |  |  |  | 50 | 5 | 10 | 226Ra | = | Bq/kg dw | 34.6 | 2.42 | FINE SAND | 73.2 | 95.7 | 0.76 | 1 | SED101 | 1 | 1 | BOX CORER | DRYING ONLY | OVEN DRYING | GAMMA SEMICONDUCTOR SPECTROMETRY
Example 2
Sample type | Latitude degrees | Latitude minutes | Latitude seconds | Latitude direction | Longitude degrees | Longitude minutes | Longitude seconds | Longitude direction | Latitude decimal | Longitude decimal | Sampling start date | Sampling start time | Sampling end date | Sampling end time | Sampling depth | Top | Bottom | Nuclide | Value type | Unit | Activity or MDA | Uncertainty | Sediment type | Dry weight | Wet weight | Dry/wet ratio |  | Station ID | Sample ID | Profile or transect ID | Sampling method | Preparation method | Drying method | Counting method | Sample notes | Measurement notes
SEDIMENT | [8 empty] | 48.6397 | 2.0553 | 2008-06-23 |  |  |  | 50 | 0 | 5 | 228Th | = | Bq/kg dw | 18.1 | 1.45 | FINE SAND | 56.2 | 69.5 | 0.8 | 1 | SED102 | 1 | 2 | GRAB SAMPLER SEDIMENT | DRYING ONLY | OVEN DRYING | GAMMA SEMICONDUCTOR SPECTROMETRY

## Sediment data
Sample type | Latitude degrees | Latitude minutes | Latitude seconds | Latitude direction | Longitude degrees | Longitude minutes | Longitude seconds | Longitude direction | Latitude decimal | Longitude decimal | Sampling start date | Sampling start time | Sampling end date | Sampling end time | Sampling depth | Top | Bottom | Nuclide | Value type | Unit | Activity or MDA | Uncertainty | Sediment type | Dry weight | Wet weight | Dry/wet ratio | Quality flag | Station ID | Sample ID | Profile or transect ID | Sampling method | Preparation method | Drying method | Counting method | Sample notes | Measurement notes

## Susp. & sed. part. instructions
Reporting instructions for suspended and sedimenting particle data |  |  |  |  | (for samples of particulate data collected within the water column)
Parameter | Format | Value
Sample type | Text | For suspended particles enter SUSPENDED and for sedimenting particles enter SEDIMENTING PARTICLES.
Latitude degrees | Number | Degrees of latitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Latitude minutes | Number | Minutes of latitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Latitude seconds | Number | Seconds of latitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Latitude direction | Text | Direction of latitude (N or S). If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude.
Longitude degrees | Number | Degrees of longitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Longitude minutes | Number | Minutes of longitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Longitude seconds | Number | Seconds of longitude. If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude. The recommended accuracy is to the nearest whole second.
Longitude direction | Text | Direction of longitude (E or W). If providing degrees, minutes, seconds it is not necessary to also provide decimal latitude and longitude.
Latitude decimal | Number | Decimal latitude. Use positive degrees for N and negative degrees for S. If providing decimal latitude and longitude it is not necessary to also provide degrees, minutes, seconds. The recommended accuracy is four decimal places.
Longitude decimal | Number | Decimal longitude. Use positive degrees for E and negative degrees for W. If providing decimal latitude and longitude it is not necessary to also provide degrees, minutes, seconds. The recommended accuracy is four decimal places.
Sampling start date | DD-MMM-YYYY | Date sample taken or start date of sampling period (alternatively, for temporally integrated samples a representative sampling date can be given).
Sampling start time | HH:MM | Only if applicable, time sample taken or start time of sampling period (alternatively, for temporally integrated samples a representative sampling time can be given).
Sampling end date | DD-MMM-YYYY | Only if applicable, end date of sampling period (for instantaneous sampling or where a representative sampling date has been given, this field should be left blank).
Sampling end time | HH:MM | Only if applicable, end time of sampling period (for instantaneous sampling or where a representative sampling time has been given, this field should be left blank).
Sampling depth | Number | Depth from the water surface in metres at which the sample was taken. Surface water = 0.
Nuclide | e.g. 137Cs, 239,240Pu, 110mAg | Nuclide for which data reported. First state the mass number of the element and then the symbol of the element without spaces.
Value type | = or < sign | If data is above the minimum detectable activity (MDA) use = sign. If data is below MDA use < sign.
Unit | Text | Bq/m3 or Bq/kg.
Activity or MDA | Number | If the data is above MDA, enter the measured data value in the unit indicated. If the data is below MDA, enter the MDA in the unit indicated; an estimate of the MDA should always be provided.
Uncertainty | Number | If the data is above MDA, 1 sigma (k=1) measurement uncertainty expressed as a number in the unit indicated (NOT as a percentage); an estimate of the measurement uncertainty should always be provided. If data is below MDA, leave blank.
Filtered | Y/N | If available, whether particulate matter has been filtered from the seawater, yes (Y) or no (N).
Mesh size | Number | If available and if filtered, the mesh size (µm).
Quality flag | Text and/or number | If available, a quantitative or qualitative indicator of the quality of the data. The IODE Quality Flag Scheme for the exchange of oceanographic and marine meteorological data (www.iode.org/mg54_3) is recommended. Additional details may be provided in the 'Sampling notes' or 'Measurement notes' fields.
Station ID | Text and/or number | Data provider's sampling station ID. If applicable, provide either a place name or code. Ensure that the same ID is used each time data is reported for the station.
Sample ID | Text and/or number | Data provider's laboratory sample ID. If applicable, provide the unique laboratory ID for the sample.
Profile or transect ID | Text and/or number | If applicable, identifier for linking data which are part of a sequence e.g. a vertical profile or a horizontal transect. This can be in any format selected by the data provider.
Total depth | Number | If available, total water column depth in metres (m).
Sampling method | Text | If available, select the most appropriate sampling method from the sampling method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Sample notes' field.
Preparation method | Text | If available, select the most appropriate preparation method from the preparation method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Sample notes' field.
Drying method | Text | If available, select the most appropriate drying method from the drying method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Sample notes' field.
Counting method | Text | If available, select the most appropriate counting method from the counting method list in datasheet 'Lists - Methods'. If a good match cannot be found, use NOT LISTED and note your own description in the 'Measurement notes' field.
Sample notes | Text | For any useful additional information related to the sample, e.g. notes on the methods.
Measurement notes | Text | For any useful additional information related to the measurement value, uncertainty and value type.
Example 1
Sample type | Latitude degrees | Latitude minutes | Latitude seconds | Latitude direction | Longitude degrees | Longitude minutes | Longitude seconds | Longitude direction | Latitude decimal | Longitude decimal | Sampling start date | Sampling start time | Sampling end date | Sampling end time | Sampling depth | Nuclide | Value type | Unit | Activity or MDA | Uncertainty | Filtered | Mesh size | Quality flag | Station ID | Sample ID | Profile or transect ID | Total depth | Sampling method | Preparation method | Drying method | Counting method | Sample notes | Measurement notes
SUSPENDED | 69 | 37 | 5 | N | 17 | 57 | 0 | E |  |  | 2008-09-29 |  |  |  | 100 | 241Am | = | Bq/m3 | 0.000178 | 2.96e-05 | Y | 0.45 | 1 | A3 |  |  |  | NOT KNOWN | NOT KNOWN | OVEN DRYING | ALPHA SEMICONDUCTOR SPECTROMETRY
Example 2
Sample type | Latitude degrees | Latitude minutes | Latitude seconds | Latitude direction | Longitude degrees | Longitude minutes | Longitude seconds | Longitude direction | Latitude decimal | Longitude decimal | Sampling start date | Sampling start time | Sampling end date | Sampling end time | Sampling depth | Nuclide | Value type | Unit | Activity or MDA | Uncertainty | Filtered | Mesh size | Quality flag | Station ID | Sample ID | Profile or transect ID | Total depth | Sampling method | Preparation method | Drying method | Counting method | Sample notes | Measurement notes
SUSPENDED | [8 empty] | 48.6397 | 2.0553 | 2008-06-23 |  |  |  |  | 137Cs | < | Bq/m3 | 0.01 |  | N |  | 1 |  | Dinard |  |  | SEDIMENT TRAP | NOT KNOWN | OVEN DRYING | GAMMA SEMICONDUCTOR SPECTROMETRY

## Susp. & sed. part. data
Sample type | Latitude degrees | Latitude minutes | Latitude seconds | Latitude direction | Longitude degrees | Longitude minutes | Longitude seconds | Longitude direction | Latitude decimal | Longitude decimal | Sampling start date | Sampling start time | Sampling end date | Sampling end time | Sampling depth | Nuclide | Value type | Unit | Activity or MDA | Uncertainty | Filtered | Mesh size | Quality flag | Station ID | Sample ID | Profile or transect ID | Total depth | Sampling method | Preparation method | Drying method | Counting method | Sample notes | Measurement notes

## List - Body part
Body part list for biota data
Select (copy and paste) a body part from the list below to include in the data reporting sheets to describe the biota sample.
If a good match is not available, use NOT LISTED and note your own description in the 'Sample notes' field. In case of queries, contact Paul McGinnity, CRP K41017 Technical Officer (p.mc-ginnity@iaea.org) or the MARiS contact point (MARIS.Contact-Point@iaea.org, p.morris@iaea.org).
Body part | Comment
NOT KNOWN
NOT LISTED
WHOLE ANIMAL
WHOLE ANIMAL EVISCERATED
WHOLE ANIMAL EVISCERATED WITHOUT HEAD
FLESH WITH BONES | e.g. fish fillets with bones
FLESH WITHOUT BONES | e.g. fish fillets without bones
EXOSKELETON
ENDOSKELETON
SHELLS
MOLT
SKIN
SCALES
SOFT PARTS | Any nonbony and noncartilaginous tissues
BLOOD
HEAD
FINS
VISCERA | Internal organs of the body cavity
STOMACH
STOMACH + INTESTINE
HEPATOPANCREAS
PYLORIC CAECA
LIVER
INTESTINE
KIDNEY
HEART
BRANCHIAL HEART
GILLS
GONAD
OVARY
TESTES
FAECAL PELLET
WHOLE PLANT
UPPER PARTS OF PLANTS
LOWER PARTS OF PLANTS
ROOT/RHIZOME

## List - Sediment type
Sediment type list for sediment measurements
The sediment type list is based on the Udden-Wentworth scale.
Select (copy and paste) a sediment type to include in the data reporting sheets to describe the sample based on the dominant particle size.
If a good match is not available, use NOT LISTED and note your own description in the 'Sample notes' field. In case of queries, contact Paul McGinnity, CRP K41017 Technical Officer (p.mc-ginnity@iaea.org) or the MARiS contact point (MARIS.Contact-Point@iaea.org, p.morris@iaea.org).
Sediment type | Size range | Comment
NOT KNOWN
NOT LISTED
VERY COARSE SAND | 1 - 2 mm | High resolution
COARSE SAND | 0.5 - 1 mm
MEDIUM SAND | 0.25 - 0.5 mm
FINE SAND | 0.125 - 0.25 mm
VERY FINE SAND | 0.0625 - 0.125 mm
COARSE SILT | 0.031 - 0.0625 mm
MEDIUM SILT | 0.0156 - 0.031 mm
FINE SILT | 0.0078 - 0.0156 mm
VERY FINE SILT | 0.0039 - 0.0078 mm
GRAVEL | > 2 mm | Low resolution
SAND | 0.0625 - 2 mm
SILT | 0.0039 - 0.0625 mm
CLAY | < 0.0039 mm

## Lists - Methods
Lists for: sampling, preparation, drying and counting methods
Select (copy and paste) methods to include in the data reporting sheets to provide metadata on the sampling, preparation, drying and counting methods used.
If a good match is not available, use NOT LISTED and note your own description in either the 'Sample notes' or 'Measurement notes' fields. In case of queries, contact Paul McGinnity, CRP K41017 Technical Officer (p.mc-ginnity@iaea.org) or the MARiS contact point (MARIS.Contact-Point@iaea.org, p.morris@iaea.org).
Sampling method | Comment | Preparation method | Comment | Counting method | Drying method
NOT KNOWN |  | NOT KNOWN |  | NOT KNOWN | NOT KNOWN
NOT LISTED |  | NOT LISTED |  | NOT LISTED | NOT LISTED
BOTTLE SAMPLING WATER | Water | DISTILLATION | --> source (e.g., H-3) | ATOMIC ABSORPTION | AIR DRYING
GRAB SAMPLING WATER |  | ELECTROLYTIC ENRICHMENT | (H-3) | ALPHA | FREEZE DRYING
PUMPING WATER |  | EVAPORATION ONLY | --> source (e.g., sea salts) | ALPHA IONIZATION CHAMBER SPECTROMETRY | OVEN DRYING
PUMPING WITH PRE-CONCENTRATION WATER |  | EVAPORATION WITH CHEMISTRY | --> chemical separations --> source (e.g., small volume analyses for Sr-90, Cs-137, Pu and Am) | ALPHA LIQUID SCINTILLATION SPECTROMETRY | SILICA GEL DRYING
BOX CORER | Sediment | PRECIPITATION | --> chemical separations --> source (e.g., large volume seawater analyses for Sr-90, Cs-137, Pu and Am) | ALPHA LUCAS TYPE SCINTILLATION
GRAB SAMPLER SEDIMENT |  | DRYING ONLY | --> source (e.g., non-destructive gamma spectrometry) | ALPHA SEMICONDUCTOR SPECTROMETRY
GRAVITY CORER |  | DRY ASHING ONLY | --> source (e.g., gamma spectrometry) | ALPHA TOTAL
GRAVITY CORER WITH PISTON |  | DRY ASHING WITH CHEMISTRY | --> dissolution --> chemical separations --> source (e.g., Pu, Sr-90) | BETA
OTHER TYPE OF SAMPLER - SPECIFY |  | WET ASHING/DISSOLUTION | --> chemical separations --> source (e.g., Po-210 analyses) | BETA GM COUNTING
BOTTLE SAMPLING PARTICLES | Suspended & sedimenting particles | COMBUSTION GAS COLLECTION | --> CO2 collection --> source (for C-14 or carbon isotope ratios) | BETA LIQUID SCINTILLATION SPECTROMETRY
PUMPING PARTICLES |  | UNPROCESSED WATER | --> source (e.g., Marinelli container for direct analysis of I-131) | BETA GAS PROPORTIONAL COUNTING
PUMPING WITH PRE-CONCENTRATION PARTICLES |  | COLUMN SEPARATION | --> source (e.g., small-medium volume analysis for Cs-134 & Cs-137) | BETA SEMICONDUCTOR SPECTROMETRY
SEDIMENT TRAP |  | PARTIAL DRYING | --> source (e.g., alpha scintilation for Ra-223, Ra-224, 227-Ac, Th-228) | BETA TOTAL
NET | Biota |  |  | GAMMA
DREDGE |  |  |  | GAMMA SPECTROMETRY IN SITU
BY HAND |  |  |  | GAMMA SEMICONDUCTOR SPECTROMETRY
SCOOP |  |  |  | GAMMA SCINTILLATION SPECTROMETRY
INDUCTIVELY COUPLED PLASMA AES
INDUCTIVELY COUPLED PLASMA SOURCE MASS SPECTROMETRY
MASS SPECTROMETRY
RESONANCE IONIZATION MASS SPECTROMETRY
THERMAL IONIZATION MASS SPECTROMETRY
ACCELERATOR MASS SPECTROMETRY
FISSION TRACK COUNTING
NEUTRON ACTIVATION ANALYSIS
COLORIMETRY
FLUORIMETRY
X-RAY SPECTROMETRY